## Summary
SUPPLIER PRICE LIST MASTER ¦ FlameSafe Fire Protection ¦ Rydalmere NSW
Compiled: Kaspar Tavitian, Electrical Services Manager (Dry Fire Division) ¦ Updated: 10 April 2026 ¦ All prices excl. GST & freight
Supplier | Sheet | ABN | Contact | Valid Until / Notes
Pertronic Industries Pty Ltd | Pertronic |  | Local Sales Office — www.pertronic.com.au | Prices change without notice (effective 1 Apr 2025)
Fusion Fire Systems | Fusion Fire | 51 159 254 921 | Giorgio Montanari — 1300 875 360 / admin@fusionadvanced.com | 6 June 2026 (60 days from 7 Apr 2026) — QU30920
FlameStop Australia Pty Ltd | FlameStop |  | www.flamestop.com.au | Web prices as at 10 Apr 2026 — excl. GST & freight
Ampac Pty Ltd | Ampac | 81 634 063 200 | David Lehn — dlehn@ampac.net ¦ 0417 986 847 | Effective 12 May 2025 — prices may change without notice

## Pertronic
PERTRONIC INDUSTRIES Pty Ltd — Trade Price List (AUD excl. GST) ¦ Effective 1 April 2025
Prices may change without notice. Special/project pricing available — contact local Pertronic office. All prices in AUD excl. GST and freight.
Category | Product Code | Description | List Price (AUD) | Notes
F220 Panels — 600mm | F220-A0.6/5A | F220, 600mm Cabinet, 2 Loops, 5A PSU, White rackplates | 4150 | 600H x 450W x 155D mm
F220 Panels — 600mm | F220-A0.6/11A | F220, 600mm Cabinet, 2 Loops, 11A PSU, White rackplates | 4391
F220 Panels — 10U | F220-A10U/5A | F220, 10U Cabinet, 2 Loops, 5A PSU | 3900 | Incl. LCD; 530H x 550W x 185D mm
F220 Panels — 13U | F220-A13U/5A | F220, 13U Cabinet, 2 Loops, 5A PSU | 3990 | 600H x 550W x 185D mm
F220 Panels — 13U | F220-A13U/5A-NOASE | F220, 13U, 5A PSU, 8WCOMR, No ASE | 5872
F220 Panels — 13U | F220-A13U/5A/EA60 | F220, 13U, 5A PSU, 60W Amp+Mic | 4853
F220 Panels — 13U | F220-A13U/11A | F220, 13U Cabinet, 2 Loops, 11A PSU | 4231
F220 Panels — 13U | F220-A13U/11A/EA60 | F220, 13U, 11A PSU, 60W Amp+Mic | 5094
F220 Panels — 16U | F220-A16U/5A | F220, 16U Cabinet, 2 Loops, 5A PSU | 4730 | 800H x 575W x 185D mm
F220 Panels — 16U | F220-A16U/5A/EA60 | F220, 16U, 5A PSU, 60W Amp+Mic | 5593
F220 Panels — 16U | F220-A16U/5A/NCU | F220, 16U, 5A PSU, Network Control Unit | 5411
F220 Panels — 16U | F220-A16U/11A | F220, 16U Cabinet, 2 Loops, 11A PSU | 4971
F220 Panels — 16U | F220-A16U/11A/EA60 | F220, 16U, 11A PSU, 60W Amp+Mic | 5834
F220 Panels — 16U | F220-A16U/11A/EA120 | F220, 16U, 11A PSU, 120W Amp+Mic | 6049
F220 Panels — 16U | F220-A16U/11A/NCU | F220, 16U, 11A PSU, Network Control Unit | 5652
F220 Panels — 16U | F220-A16U/22A | F220, 16U Cabinet, 2 Loops, 22A PSU | 5188
F220 Panels — 16U | F220-A16U/22A/EA120 | F220, 16U, 22A PSU, 120W Amp+Mic | 6266
F220 Panels — 22U | F220-A22U/5A | F220, 22U Cabinet, 2 Loops, 5A PSU | 6065 | 1065H x 575W x 290D mm
F220 Panels — 22U | F220-A22U/5A/EA60 | F220, 22U, 5A PSU, 60W Amp+Mic | 6929
F220 Panels — 22U | F220-A22U/11A | F220, 22U Cabinet, 2 Loops, 11A PSU | 6306
F220 Panels — 22U | F220-A22U/11A/EA60 | F220, 22U, 11A PSU, 60W Amp+Mic | 7170
F220 Panels — 22U | F220-A22U/11A/EA120 | F220, 22U, 11A PSU, 120W Amp+Mic | 7386
F220 Panels — 22U | F220-A22U/22A | F220, 22U Cabinet, 2 Loops, 22A PSU | 6523
F220 Panels — 22U | F220-A22U/22A/EA60 | F220, 22U, 22A PSU, 60W Amp+Mic | 7386
F220 Panels — 22U | F220-A22U/22A/EA120 | F220, 22U, 22A PSU, 120W Amp+Mic | 7601
F220 Panels — 28U Slim | F220-A28US/5A | F220, 28U Slim Cabinet, 2 Loops, 5A PSU | 6475 | 1330H x 575W x 290D mm
F220 Panels — 28U Slim | F220-A28US/11A | F220, 28U Slim Cabinet, 2 Loops, 11A PSU | 6717
F220 Panels — 28U Slim | F220-A28US/22A | F220, 28U Slim Cabinet, 2 Loops, 22A PSU | 6932
F220 Panels — 28U | F220-A28U/5A | F220, 28U Cabinet, 2 Loops, 5A PSU | 6475 | 1330H x 575W x 385D mm
F220 Panels — 28U | F220-A28U/11A | F220, 28U Cabinet, 2 Loops, 11A PSU | 6717
F220 Panels — 28U | F220-A28U/22A | F220, 28U Cabinet, 2 Loops, 22A PSU | 6932
F220 Panels — 40U | F220-A40U/5A | F220, 40U Cabinet, 2 Loops, 5A PSU | 7102 | 1865H x 575W x 385D mm
F220 Panels — 40U | F220-A40U/11A | F220, 40U Cabinet, 2 Loops, 11A PSU | 7342
F220 Panels — 40U | F220-A40U/22A | F220, 40U Cabinet, 2 Loops, 22A PSU | 7559
F220 Panels — ARC | F220-A10U/5A-ARC | F220, 10U, 5A PSU c/w ARC | 4442 | Agent Release Controller
F220 Panels — ARC | F220-A13U/5A-ARC | F220, 13U, 5A PSU c/w ARC | 4698
F220 Panels — ARC | F220-A16U/5A-ARC | F220, 16U, 5A PSU c/w ARC | 5364
F220 Panels — ARC | F220-A16U/11A-ARC | F220, 16U, 11A PSU c/w ARC | 5605
F220 Panels — ARC | F220-A28U/5A-ARC | F220, 28U, 5A PSU c/w ARC | 6504
F220 Panels — ARC | F220-A28U/11A-ARC | F220, 28U, 11A PSU c/w ARC | 6745
Panel Accessories | F120P2LMB-A | F120A/F220 2 Loop Driver Mini Board V1.16 | 907
Panel Accessories | LPSNUB | Loop Snubber PCB Assembly | 20
Display Mimics | F220-FFMA | F220 LCD Full Function Mimic AUS | 1260
Display Mimics | F220-AMMA | F220 Alarm Mini-Mimic AUS | 835
Display Mimics | F220-EMMA | F220 Enhanced Mini-Mimic AUS | 877
Display Mimics | MINIMIMIC | F100A/F120A LCD Mini Mimic with Next & Buzzer Mute | 599
Display Mimics | FIREMAP | FireMap Graphics Software Licence | 7000
Display Mimics | 8RLYM | 8 Way Relay Card (requires LAC485) | 168
Display Mimics | LAC485 | LED Address Controller RS485 — Pulsing LED | 231
Modules — F100A/F220 | AALR-MFA | AA Loop Responder 8 I/P Multifunction+Rly O/P | 347
Modules — F100A/F220 | AALREL | AA Loop Relay — 4 Relay | 347
Modules — F100A/F220 | AAM | Alarm Acknowledge Module | 125
Modules — F100A/F220 | 8SAAIB | AA Isolator Board — 8 Spur | 210
Modules — F100A/F220 | ITM | AA Isolate Timer Module | 305
Modules — F100A/F220 | PMB125 | Universal AA Mounting Box 123x123x55mm | 15
Modules — F100A/F220 | 8WCOMR | 8 Way Common Relay Board | 137
Modules — F100A/F220 | ZMB24V | Zonal Bell Monitor Board 24V | 185
Modules — System Sensor | M500DMR | AA Dual Input/Output Module | 277 | Uses M200E-SMB Box
Modules — System Sensor | M500M | AA Single Input Module | 102 | Uses PMB125
Modules — System Sensor | M500R | AA Single Relay Output Module | 120 | Uses PMB125
Modules — System Sensor | M500S | AA Single Supervised Relay Output Module | 120 | Uses PMB125
Modules — System Sensor | M501M | AA Single Input Mini Module | 78
Modules — System Sensor | M500X | Loop Isolator Module | 85
Modules — System Sensor | ISO524-1 | Short Circuit Isolator Single Euro | 54
Modules — System Sensor | M200E-SMB | Surface Mount Box for 200 Series Modules | 19.25
Fan Controls | FCM | Fan Control Module (AS1670.1-2018) | 165
Fan Controls | FCRLY | Fan Control Relay 125x125x56mm Enclosure | 195
Fan Controls | FCRM | Fan Control Repeater Module (AS1670.1-2018) | 175
Fan Controls | FCRESETU | Fan Control Reset Unit (AS1670.1-2018) | 185
Fan Controls | FCSU | Fan Control Switch Unit (AS1670.1-2018) | 185
Fan Controls | DCSWU | Damper Control Switch Unit NF/FLT/FIR (AS1670.1-2018) | 185
Fan Controls | DCSRU | Damper Control Repeater Unit NF/FLT/FIR Indication only | 145
Networking | NET2CARD | F220 Net2 Network Card | 710
Networking | FMEGATE | FireMap Ethernet Gateway Card F100A/F120A/F220 | 710
Networking | FIBNET-MMF | Multi Mode Fibre Converter for NET2CARD (2km) ST | 137
Networking | FIBNET-MMF-SC | Multi Mode Fibre Converter for NET2CARD (2km) SC | 131
Networking | FIBNET-SMF | Single Mode Fibre Converter for NET2CARD (20km) ST | 137
Networking | SPIB-MODBUS | SPIB Interface MODBUS HLI F100/F120/F220 | 3780
Networking | BASGLX-M1 | BASgatewayLX Modbus to BACnet Gateway | 4255 | Requires Modbus GPIB
AA Detectors | 2251CPI-W | AA Photoelectric C Series Smoke Detector — White | 113.5
AA Detectors | 2251CPI-IV | AA Photoelectric C Series Smoke Detector — Ivory | 119
AA Detectors | 2251BPI-BK | AA Photoelectric Smoke Detector — Black | 125
AA Detectors | 2351PTIRAUS-W | AA Photo-Thermal-IR Multi Sensor — White (excl base) | 201 | Acclimate replacement
AA Detectors | 5251CPI-W | AA Fixed Temp Thermal Detector Type B&D — White | 90
AA Detectors | 5251RCPI-W | AA ROR Thermal Detector Type A&C — White | 90
AA Detectors | 5251B-WP | AA Weatherproof Heat Detector Fixed Temp (with B501A base) | 156
AA Detectors | 5251RB-WP | AA Weatherproof Thermal Detector ROR+Fixed Temp | 156
AA Detectors | 7251CPI-W | AA Pinnacle Hi-Sensitivity Smoke C Series — White (excl base) | 479
AA Detectors | CP500 | CP500 Handheld Programmer for AA Weatherproof Detectors | 379
AA Detectors | 22051TLE-34-W | PTIR Multi-Criteria Analogue Smoke — White | 222 | While stocks last
AA Detectors | 2251CTLE-34-IV | COPTIR CO Multi-Criteria Analogue Smoke — Ivory | 396 | While stocks last
AA Detector Bases | B501AUS-W | AA Detector Base — White | 12.25
AA Detector Bases | B501AUS-BK | AA Detector Base — Black | 19.25
AA Detector Bases | B501AP-W | AA Detector Base — White (Addressable Sounder Compatible) | 14
AA Detector Bases | B501AP-BK | AA Detector Base — Black (Addressable Sounder Compatible) | 20
AA Detector Bases | B501BI-W | Isolator Base — Bright White for addressable detector | 53
AA Duct Detection | DNR-AUS | AA Duct Housing, No Relay, No Detector | 253
AA Duct Detection | DNRW | AA Watertight Non-Relay Duct Sampling | 349
AA Duct Detection | DST1.5 | Metal Sampling Tube — Duct Width 0.3–0.6m | 19
AA Duct Detection | DST3 | Metal Sampling Tube — Duct Width 0.6–1.2m | 27.5
AA Duct Detection | DST5 | Metal Sampling Tube — Duct Width 1.2–2.4m | 39.5
AA Duct Detection | DST10 | Metal Sampling Tube — Duct Width 2.4–3.7m | 68
Conv. Detectors | 2151BPI-W | Low Profile Photo Smoke Detector — White (excl base) | 72
Conv. Detectors | 2151BPI | Low Profile Photo Smoke Detector — Ivory (excl base) | 72
Conv. Detectors | 5151RAUS | Conv. Heat Detector ROR+Fixed 63°C — Type A | 50.5
Conv. Detectors | 5151AUS | Conv. Heat Detector Fixed 63°C — Type B | 50.5
Conv. Detectors | 5151RHAUS | Conv. Heat Detector ROR+Fixed 90°C — Type C | 52.5
Conv. Detectors | 5151HAUS | Conv. Heat Detector Fixed 90°C — Type D | 52.5
Conv. Detectors | 885-WP | Weatherproof Conv. Type B Heat Detector (Fixed) | 120.5
Conv. Detectors | B401-W | Conventional Detector Base — White | 11
Conv. Detectors | B401R | Conventional Detector Base with 470 Ohm Resistor | 18
Beam Detection | FRONE | Fireray One Beam Smoke Detector (50m reflector) | 1625
Beam Detection | FRLRK | Fireray Long Range Reflector Kit (120m) | 453.5
Beam Detection | FRSBB | Fireray Surface Back Box | 491.5
Beam Detection | FRACH | Fireray Anti-condensation Heater | 1098.8
Conv. Duct | D2-AUS | 2 Wire Conv. Duct Smoke Detector & Housing (excl tube) | 361
Conv. Duct | D4120 | 4 Wire Conv. Duct Smoke Detector 24V c/w Relay (excl tube) | 463
Flame Detectors | RFD-2000X | RFD-2000X UV/IR Flame Detector incl. mounting bracket | 4895.1
Flame Detectors | RFD-3000X | RFD-3000X IR3 Flame Detector incl. mounting bracket | 5850
Manual Call Points | MCP5A-RP02SF-K013-01 | KAC Resettable AA MCP Red c/w loop isolator, surface | 120
Manual Call Points | WCP5A-RP01SG-K013-01 | KAC Weatherproof AA MCP Red with mounting box | 302
Manual Call Points | MCP3A-R000SG-P088-01 | KAC Conv. Call Point — Red with mounting box | 44
Manual Call Points | MCP3A-W000SG-P088-02 | KAC Conv. Call Point — White with mounting box | 54
Manual Call Points | WCP3A-R000SG-STCK-01 | KAC Weatherproof Conv. MCP Red with mounting box | 244.5
Manual Call Points | MCP4A-Y000SG-K013-11 | Yellow Double Pole Gas Release MCP | 75
Manual Call Points | KG1 | KAC Spare Glass | 4.9
Manual Call Points | PS200 | PS200 Protective Hinged Cover for KAC MCPs | 12
Sounders & Strobes | DSS-PC-I00 | AA Sounder/Strobe Base c/w isolator — Pure White, AS7240.23 | 217 | Requires B501AP-W Base
Sounders & Strobes | WSS-PC-I00 | AA Wall Sounder/Strobe c/w isolator — Pure White, AS7240.23 | 210 | Requires B501AP-W Base
Sounders & Strobes | BSS-DR-N34 | AA Detector Base Sounder-Strobe Red, White Base, Non-Iso | 241 | Requires B501AP-IV Base
Sounders & Strobes | LASS-BSO-NC-W | AA Detector Base Sounder — White, Non-Isolation | 113.5 | Requires B501AUS Base
Sounders & Strobes | LASS-WSO-NC-W | AA Wall Sounder — White, Non-Isolation | 128.5 | Requires B501AUS Base
Sounders & Strobes | LASS-BSS-NC-W | AA Detector Base Sounder-Strobe Red, White Base, Non-Iso | 181 | Requires B501AUS Base
Sounders & Strobes | LASS-WSS-NC-W | AA Wall Sounder-Strobe Red, Non-Iso — White base | 181 | Requires B501AUS Base
Sounders & Strobes | PSB-T3 | Pertronic AA Sounder Base with AUS T3 Tones | 99
Sounders & Strobes | WRL-PC-I00 | Intelligent Wall Mount Strobe EN54-23 — Red flash/White body | 282 | Requires B501AP-W
Sounders & Strobes | DVAD-C-24V-2D | Dual Red/White Polarity-Reversal VAD 24V Ceiling Mount | 540 | AS7240.23 Type A
Sounders & Strobes | DVAD-W-24V-2D | Dual Red/White Polarity-Reversal VAD 24V Wall Mount | 531 | AS7240.23 Type A
Sounders & Strobes | PS1-RT3 | Conv. Sounder Red with AUS T3 Tones | 70
Sounders & Strobes | PS1-WT3 | Conv. Sounder White with AUS T3 Tones | 70
Sounders & Strobes | LX-C-VAD-RBRF | Solista LX Ceiling VAD — Red Body, Red Flash, AS7240.23 | 128
Sounders & Strobes | LX-C-VAD-RBWF | Solista LX Ceiling VAD — Red Body, White Flash | 123
Sounders & Strobes | LX-W-VAD-RBRF | Solista LX Wall VAD — Red Body, Red Flash | 128
Sounders & Strobes | CWSS-RR-W5 | Sounder Beacon Red Body, Red Lens IP65 | 253
Amplifiers | EA60 | Evac Amplifier 60W 24VDC — Integral Tones/Messages/VAD O/P | 810
Amplifiers | EA60KIT | 60W Amplifier+Mic kit with White rackplate for ASE | 1200
Amplifiers | EA120 | Evac Amplifier 120W 24VDC — Integral Tones/Messages/VAD O/P | 1060
Amplifiers | EA120KIT | 120W Amplifier+Mic kit with White rackplate for ASE | 1450
Speakers | C2270 | Speaker 100mm 4" 100V 6W Metal Grille Ceiling AS ISO7240.24 | 72
Speakers | CF2050G | 10W 100V EWIS IP66 Fire PA Horn Speaker Grey AS ISO7240.24 | 216
Speakers | CF2142 | 200mm 100V 15W Ceiling EWIS Speaker White Grille AS7240 | 168
Speakers | L-VCP06D-W | 4" Ceiling Loudspeaker 6/3/1.5W White AS7240 | 61
Speakers | L-VJP15A/EN-W | 15W Unidirectional Projection Loudspeaker White AS ISO7240.24 | 184
Speakers | C0703 | 100mm Surface Mount One-Shot Speaker — White | 63
Door Release | FDHW/F175-24V | Fire Door Holder Wall/Floor mount 150/175mm 24VDC 40Kgf | 175
Door Release | FDHWM38-24V | Fire Door Holder Wall mount Slim 38mm 24VDC 40Kgf | 95
Door Release | FDHWM65-24V | Fire Door Holder Wall mount Extended 65mm 24VDC 40Kgf | 125
Door Release | A1350 | EM Door Release c/w Anvil 24VDC 25–50kg | 137
Door Release | A1360 | EM Door Release c/w Anvil 24VDC 50–100kg | 166.5
EWIS | ETS-M | Emergency Telephone System Master | 860
EWIS | ETS-IJP | Emergency Telephone System Isolating Jack Point | 228
EWIS | ETS-PH | Emergency Telephone System Portable Handset | 375
EWIS | SSM24-6 | Alarm Bell 6" 24VDC with Blocking Diode | 80.5
EWIS | SSM24-8 | Alarm Bell 8" 24VDC with Blocking Diode | 75.5
VESDA / Aspirating | VLF-250-02 | VESDA LaserFOCUS 250 | 4109
VESDA / Aspirating | VLF-500-02 | VESDA LaserFOCUS 500 | 5152
VESDA / Aspirating | VEP-A00-1P | VESDA-E VEP with LEDs, 1 Pipe | 7888.5
VESDA / Aspirating | VEP-A00-P | VESDA-E VEP with LEDs, Plastic Enclosure 4 Pipe | 9647.5
VESDA / Aspirating | VEP-A10-P | VESDA-E VEP with 3.5" LCD Display, 4 Pipe | 10896
VESDA / Aspirating | VEU-A00 | VESDA-E VEU with LEDs | 12975
VESDA / Aspirating | VEU-A10 | VESDA-E VEU with 3.5" Display | 13355
VESDA / Aspirating | VES-A00-P | VESDA-E Scanner with LED Display | 16558
VESDA / Aspirating | VES-A10-P | VESDA-E Scanner with 3.5" LCD Display | 17908
VESDA / Aspirating | VLI-880 | VESDA Laser Industrial VLI-880 | 11376
VESDA / Aspirating | VLI-885 | VESDA VLI with VESDAnet | 12376
VESDA / Aspirating | VHX-0200 | HLI VESDAnet PC High Level Interface | 2141.75
VESDA / Aspirating | VSP-005 | Filter Assembly for VLF/VLC/VLP/VLS | 125
VESDA / Aspirating | VSP-962 | Filter to Suit VESDA-E (1 pc) | 276
VESDA / Aspirating | VSP-860 | VESDA Freezer Room Sample Point Kit (Complete) | 265
VESDA / Aspirating | VIC-010 | VESDAnet Interface (VN) Card | 920
VESDA / Aspirating | VIC-020 | Multi-Function Control Card (MCC) | 616
VESDA / Aspirating | FL2011EI-HS | FAAST-LT Intelligent Single Channel ASD — System Sensor | 2576
VESDA / Aspirating | FL2012EI-HS | FAAST-LT Intelligent Single Channel 2-Detector ASD | 3066
VESDA / Aspirating | FL2022EI-HS | FAAST-LT Intelligent Dual Channel 2-Detector ASD | 3987
VESDA / Aspirating | FLX-010 | FAAST Flex 1-Pipe Stand-Alone | 3942
VESDA / Aspirating | FLX-020 | FAAST Flex 2-Pipe Stand-Alone | 6166
VESDA / Aspirating | FAAST-PIPEW | FAAST Aspirating Pipe 4m (25mm Dia.) White uPVC | 13
VESDA / Aspirating | FAAST-FILTERLT | FAAST LT Integral Filter — 6 Pack | 82
VESDA / Aspirating | FAAST-FILTERLT-1 | FAAST LT Integral Filter — 1 Pack | 41
OSID Beam | OSI-10 | OSID Imager 7° HFOV, Range 30–150m 24VDC | 1337
OSID Beam | OSI-90 | OSID Imager 80° HFOV, Range 6–50m 24VDC | 1374
OSID Beam | OSE-SPW | OSID Emitter Standard Power, Wired 24VDC | 638
OSID Beam | OSE-HPW | OSID Emitter High Power, Wired 24VDC | 981
OSID Beam | OSID-INST | OSID Installation Kit (laser tool, test filter, PC cable) | 478
ARC Products | ARC2 | Agent Release Controller AS4214:2018 | 515
ARC Products | ARC2-CC | Agent Release Controller AS4214:2018 — Conformal Coating | 620
ARC Products | ACS2-FM | Agent Control Station Flush Mount AS4214:2018 | 455
ARC Products | ACS2-SM | Agent Control Station Surface Mount AS4214:2018 | 607
ARC Products | LCS2-FM | Local Control Station Flush Mount AS4214:2018 | 416
ARC Products | LCS2-SM | Local Control Station Surface Mount AS4214:2018 | 540
ARC Products | AVS-C | Audio Visual Sign c/w Countdown Timer (requires fascia) | 385
ARC Products | AVS-B | Audio Visual Sign (requires separate fascia) | 301.5
ARC Products | AVS-WP | Audio Visual Sign IP66 Weatherproof, no sounder | 680
ARC Products | AVS-C-WP+S | AV Sign Weatherproof c/w Countdown Timer & Sounder | 780
Power Supplies | 24/5PSUV2-7240 | 24V 5A Monitored PSU (AS7240.4) | 603
Power Supplies | 24/11PSUV2-7240 | 24V 11A Monitored PSU (AS7240.4) | 854
Power Supplies | 24/22PSUV2-7240 | 24V 22A Monitored PSU (AS7240.4) | 1076
Power Supplies | 24-1.5SWMPS | 24V 1.5A Switch Mode Power Supply | 294
Power Supplies | AUX24/5PSU-7240 | 24V 5A Monitored PSU in BATCAB-550 & 003 Camlock | 1463
Power Supplies | AUX24/11PSU-7240 | 24V 11A Monitored PSU in BATCAB-550 & 003 Camlock | 1650
Power Supplies | AUX24/22PSU-7240 | 24V 22A Monitored PSU in BATCAB-575L & 003 Camlock | 2260
Batteries | 12V7AH | Battery 12V 7AH | 31
Batteries | 12V12AH | Battery 12V 12AH | 68
Batteries | 12V15AH | Battery 12V 15AH | 82
Batteries | 12V18AH | Battery 12V 18AH | 92
Batteries | 12V22AH | Battery 12V 22AH | 118
Batteries | 12V26AH | Battery 12V 26AH | 141
Batteries | 12V33AH | Battery 12V 33AH | 180
Batteries | 12V40AH | Battery 12V 40AH | 234
Batteries | 12V55AH | Battery 12V 55AH | 317
Batteries | 12V75AH | Battery 12V 75AH | 423
Battery Cabinets | BATCAB-550 | Battery Cabinet 550W x 350H x 185D (suits 10U/13U) | 435
Battery Cabinets | BATCAB-575 | Battery Cabinet 575W x 350H x 185D (suits 16U–40U) | 435
Battery Cabinets | BATCAB-575L | Battery Cabinet 575W x 570H x 300D (suits 16U–40U) | 1250
Spare Parts | F220MASTAUS | F220 Masterboard (AUS) SMD | 1150
Spare Parts | F220KEYBOARD-AUS | F220 Keyboard with Overlay AUS Version | 748
Spare Parts | F100M-256AUS | F100A Masterboard AUS 256 Micro | 1898
Spare Parts | EVAC50W24V-A | EVAC Amplifier 50W 24V with Integral Tone and Message | 748
Sundry Detection | PIC-DMK | Pertronic In-Ceiling Detector Mounting Kit | 115.5
Sundry Detection | DETWGS | Smoke Detector Wire Guard 120D x 90H | 39.9
Sundry Detection | SMOKEPEN | Smoke Pen 6-Stick Kit (Code 80000) | 70
Sundry Detection | T3101 | Canned Smoke for Testing Fire Alarm Detectors | 56
Sundry Detection | T3102 | Smoke Can — Sabre 150ml | 49
Thermal Probes | T1000E 60C | Model 1000E Thermal Probe — 60°C (incl. 20mm locknut) | 288.5
Thermal Probes | T1000E 90C | Model 1000E Thermal Probe — 90°C (incl. 20mm locknut) | 288.5
Thermal Probes | T1000E 120C | Model 1000E Thermal Probe — 120°C (incl. 20mm locknut) | 288.5
Thermal Probes | T1000E 150C | Model 1000E Thermal Probe — 150°C (incl. 20mm locknut) | 288.5
Thermal Probes | T1000E 180C | Model 1000E Thermal Probe — 180°C (incl. 20mm locknut) | 288.5

## Fusion Fire
FUSION FIRE SYSTEMS — Quote QU30920 ¦ Unit Rates for FlameSafe ¦ 7 April 2026 ¦ Valid 60 days
Contact: Giorgio Montanari ¦ 1300 875 360 ¦ admin@fusionadvanced.com ¦ ABN: 51 159 254 921 ¦ All prices excl. GST and freight.
Category | Item Code | Description | Unit Price (AUD) | Notes
AU-5000 Screen/Cards | MXS-504 | AU-5000 Spare Display Card | 1540
AU-5000 Motherboards | MXS-501V | AU-5000 Spare Single Loop Base Card c/w PSU | 1840
AU-5000 Motherboards | MXS-502V | AU-5000 Spare Two Loop Base Card c/w PSU | 2470
AU-5000 Motherboards | MXS-503V | AU-5000 Spare Four Loop Base Card c/w PSU | 3095
Network Cards | MXP-503 | Axis 5000 Standard Network Card | 385
Network Cards | MXP-509 | Axis 5000 Peer To Peer Fault Tolerant Network Card | 633
Network Cards | MOXA-Fiber-MM | Multi Mode Fiber Optic Converter SC — AdNet Network | 410.46 | Confirm SC or ST on order; 2x per fault-tolerant system; 1x UFEC15 PSE per system
Network Cards | MOXA-Fiber-SM | Single Mode Fibre Optic Converter SC — AdNet Network | 845.25 | Confirm SC or ST on order; 2x per fault-tolerant system; 1x UFEC15 PSE per system
Network Cards | UFEC15-24S | Axis 5000 NT DC-DC Converter 24V to 12V @ 1.25A | 275 | For NT Miri unit
P-Bus Cards | MXP-502 | Axis 5000 Digital Single Loop Driver Card (240 devices) | 700
P-Bus Cards | MXP-544 | Axis 5000 P-Bus 8 Way Relay Card | 271
P-Bus Cards | AUP-543 | Axis 5000 P-Bus 6 Way Fan Controller c/w LEDs/Switches | 911
P-Bus Cards | AUP-538 | Axis 5000 P-Bus 16-Way Switch Input Module c/w 3 Indicators | 903
P-Bus Cards | MXP-536 | Axis 5000 P-Bus 8-Way Conventional Zone Card | 992 | Max 16 cards
Axis Detectors | FWOPX | Digital AA Optical Smoke Detector c/w SCI, Magnet Test | 98 | Drift Compensation; LED Colour Flash optional
Axis Detectors | FWOP | Digital AA Photo Optical Smoke Detector | 92.5 | Automatic Drift Compensation
Axis Detectors | FWOHX | Digital AA Multi-Criteria Detector c/w SCI, Magnet Test | 144 | Drift Compensation; LED Colour Flash optional
Axis Detectors | FWOH | Digital AA Multi-Criteria Detector | 139 | Automatic Drift Compensation
Axis Detectors | FWHTX | Digital AA Thermal Detector ROR/FT c/w SCI, Magnet Test | 100
Axis Detectors | FWHT | Digital AA Thermal Detector ROR or FT | 95
Axis Detectors | FWMB | Standard AA Detector Mounting Base c/w Loop Continuity Clip | 15
Axis Detectors | RI-ICS | Remote Indicator — In Concealed Space | 23
Axis Detectors | FWDDH-OPX | Duct Detector Housing 0.5–20m/s (incl. FWOPX & FWMB) | 440 | Approved AS1603.13, AS7240.7/.17/.13
Axis Detectors | DDH-ST-1.5 | Duct Housing Sampling Tube 1.5m | 135
Thermal Probes | T-1000E-65 | SS Probe Type A Heat Detector 65°C | 340
Manual Call Points | FWCP | Digital AA MCP — Resettable (Red) | 148
Manual Call Points | FCPCI | Transparent Cover for Axis-CP AA MCPs (no text) | 18
Manual Call Points | MCP-RW | Conv. MCP White EWIS c/w Resettable Glass | 27.93
Manual Call Points | MCP-Cover-UK | MCP Clear Cover for VCP100 MCPs | 11.76
Speakers & Strobes | VAD-WWW | Wall VAD White Flash, White Body AS ISO7240.23 24VDC | 105 | Shallow base
Speakers & Strobes | FWCWS | Conventional Wall Sounder | 121
Speakers & Strobes | FWCWSV | Conventional Wall Sounder Beacon | 168
Speakers & Strobes | FWSMB | AA Loop Powered Synchronised Sounder Base — 30 Tones | 234 | Selectable by logic
Speakers & Strobes | FWSVMB | Addressable Sounder Beacon Base — 30 Tones | 285 | Individually addressed from CIE
Speakers & Strobes | FWS2MB | Addressable Synchronised Sounder Base — 32 Tones | 188 | SCI (X) detectors only; AS7240.3
Speakers & Strobes | FWS2AMB | Slave Sounder Base — 32 Selectable Tones | 169 | AS7240.3
Speakers & Strobes | FWSV2MB | Addressable Sounder & VAD Base — 32 Tones | 267 | SCI (X) detectors only; AS7240.3 & 23
Speakers & Strobes | FWLID200/W | Sounder Base Cover (White) — Axis & Taurus Sounder Bases | 10
Speakers & Strobes | VA-104C | 100mm 6W Metal Grill Recessed Ceiling Speaker AS7240.24 | 50 | 155mm cut-out required
Speakers & Strobes | HS-155 | 155mm Metal & Wood Hole Saw Bit for VA-104 Speakers | 64.68
Speakers & Strobes | C2160 | Low Profile 100mm 5W EWIS Recessed Ceiling Speaker AS7240.24 | 66
Speakers & Strobes | CF-0703 | Low Profile 100mm 5W EWIS Surface Mount Speaker AS7240.24 | 90 | Requires equalisation to comply
Speakers & Strobes | CF2053G | 10W EWIS Horn Speaker Grey AS7240.24 | 84.53
Modules | FMMC-120 | Mini Single Relay Output Module (Form C) — No Enclosure | 152 | AS7240.17 & 18
Modules | FMIC-100 | Single Input & Output Module Supervised — Wall Mount | 189 | Requires DMB enclosure
Modules | FMMI-100 | Mini Single Input Module Supervised — No Enclosure | 182 | AS7240.17 & 18
Modules | FMMIC-100 | Mini Single I/O Module Supervised — No Enclosure | 184 | AS7240.17 & 18
Modules | FMMIC-120 | Mini Single I/O Relay Module (Form C) — No Enclosure | 190 | AS7240.17 & 18
Modules | FMMC-100 | Mini Single Output Module Supervised — No Enclosure | 182 | AS7240.17 & 18
Modules | FMI-100 | Single Input Module Supervised — Wall Mount | 182 | Requires DMB enclosure
Modules | FMC-120 | Single Relay Output Module (Form C) — Wall Mount | 183.5 | Requires DMB enclosure
Modules | FMIC-120 | Single Input & Relay Output Module (Form C) — Wall Mount | 189 | Requires DMB enclosure
Modules | DMB100-C | PVC Mounting Box for VM Modules 86x86x43mm | 11.2
Modules | FMIC-404 | 4 Supervised Input & 4 Relay Output Module c/w Enclosure | 310
Modules | FMCZ100 | Collective/Conv. Zone Input Module — Loop Powered, Wall Mount | 130 | 1x C/O contact
Door Holders | MDH-003 | Magnetic Door Holder 25/50kg — Wall Mount | 60.75
Door Holders | MDH-1350 | Magnetic Door Holder 25/50kg — Wall Mount | 69.83
EWIS | WIP Phone | Red Warded Intercom Phone | 200
EWIS | WIP-120 | Addressable Warden Intercom Phone Module c/w Speech Loop | 350 | WIP Phone required
Taurus Wireless | FRMT | TAURUS Wireless DDI AA Translator/Transmitter — 128 Device | 686 | 32 local; 15x FRME expanders; AS7240.25/.17/.18
Taurus Wireless | FRMEC | TAURUS Wireless DDI Conv. Transmitter Interface — 32 Device | 863 | AS7240.25/.17/.18
Taurus Wireless | FRME | TAURUS Wireless DDI Expander Module — 32 Device | 396 | AS7240.25
Taurus Wireless | FROP | TAURUS Wireless Dual Photo Optical Smoke Detector | 300 | AS7240.25 & 7240.7
Taurus Wireless | FROH | TAURUS Wireless Multi-Criteria & Multi-Sensor Detector | 325 | AS7240.25/.5/.7
Taurus Wireless | FRHT | TAURUS Wireless Thermal Detector — ROR or Fixed Temp | 290 | AS7240.25 & 7240.5
Taurus Wireless | FRMI | TAURUS Wireless Supervised Single Input Module | 296 | AS7240.25/.18/.13
Taurus Wireless | FRMO | TAURUS Wireless Output Module with Relay | 478 | AS7240.25/.18/.13
Taurus Wireless | FRSMB | TAURUS Wireless Sounder & Base 91dB@1m | 315 | AS7240.25 & 7240.3
Taurus Wireless | FRCP | TAURUS Wireless AA MCP — Resettable | 316 | AS7240.25 & 7240.11
Taurus Wireless | FRWSM | TAURUS Wireless Sounder/VAD Interface Module | 296 | AS7240.25/.18/.13
Tools | FWPU | Fusion Hand-Held Programming Unit (upgradable) | 430 | For hard-wired detectors & modules
Tools | FWPU/CARRY | AXIS-PU Carry Case 245x155x75mm | 14.7
Tools | CR123A-PCCR | Duracell/PROCELL CR-123A 3V Lithium Battery | 9.92 | Price per battery
Tools | DMB100-L | Large PVC Mounting Box for VM Modules 108x108x64mm | 11.03
QUOTE TOTAL (excl. GST) |  |  | 27108.97 | + GST $2,710.90 = $29,819.87 total incl. GST

## FlameStop
FLAMESTOP AUSTRALIA Pty Ltd — Web Pricing (AUD excl. GST) ¦ As at 10 April 2026 ¦ www.flamestop.com.au
All prices exclude GST and freight. POA items confirmed upon request. Prices subject to change without notice.
Category | Part Number | Description | Price (AUD) | Notes
VESDA-E VEP | P-VEP-A00-1P | VESDA-E VEP with LEDs, 1 Pipe | 4575
VESDA-E VEP | P-VEP-A00-P | VESDA-E VEP with LEDs, Plastic Enclosure 4 Pipe | 5630
VESDA-E VEP | P-VEP-A10-P | VESDA-E VEP with 3.5" LCD Display, 4 Pipe | 6240
VESDA-E VEP | P-VSP-960 | Mounting Bracket for VEP, VES and VEU | 47.23
VESDA-E VEP | P-VSP-962 | VESDA-E Filter (1 pc) | 98
VESDA-E VEP | P-VSP-962-20 | VESDA-E Filter — 20 Pieces | 1294
VESDA-E VEP | P-VSP-965 | VESDA-E Sampling Module | 513.34
VESDA-E VEP | P-VSP-964-03 | VESDA-E Smoke Detection Chamber for GA3 (Serial 97+) | 2060.23
VESDA-E VES | P-VES-A00-P | VESDA-E VES with LEDs, Plastic Enclosure | 8994
VESDA-E VES | P-VES-A10-P | VESDA-E VES with 3.5 inch Display, Plastic Enclosure | 9635
Batteries — Lead Acid | PLAB1.3AH | 1.3AH 12VDC Lead Acid Battery | 16.75
Batteries — Lead Acid | PLAB2.3AH | 2.3AH 12VDC Lead Acid Battery | 17.91
Batteries — Lead Acid | PLAB3.2AH | 3.2AH 12VDC Lead Acid Battery | 20.52
Batteries — Lead Acid | PLAB7AH | 7AH 12VDC Lead Acid Battery | 17.63
Batteries — Lead Acid | PLAB9AH | 9AH 12VDC Lead Acid Battery | 28.03
Batteries — Lead Acid | PLAB12AH | 12AH 12VDC Lead Acid Battery | 40.6
Batteries — Lead Acid | PLAB15AH | 15AH 12VDC Lead Acid Battery | 49.08
Batteries — Lead Acid | PLAB18AH | 18AH 12VDC Lead Acid Battery | 55.78
Batteries — Lead Acid | PLAB26AH | 26AH 12VDC Lead Acid Battery | 83.15
Batteries — Lead Acid | PLAB33AH | 33AH 12VDC Lead Acid Battery | 116.22
Batteries — Lead Acid | PLAB40AH | 40AH 12VDC Lead Acid Battery | 121.94
Batteries — Lead Acid | PLAB45AH | 45AH 12VDC Lead Acid Battery | 136.57
Batteries — Lead Acid | PLAB55AH | 55AH 12VDC Lead Acid Battery | 191.64
Batteries — Lead Acid | PLAB65AH | 65AH 12VDC Lead Acid Battery | 203.04
Batteries — Lead Acid | PLAB75AH | 75AH 12VDC Lead Acid Battery | 230.74
Batteries — Lead Acid | PLAB85AH | 85AH 12VDC Lead Acid Battery | 272.15
Batteries — Lead Acid | PLAB100AH | 100AH 12VDC Lead Acid Battery | 279.84
Batteries — Lead Acid | PLAB120AH | 120AH 12VDC Lead Acid Battery | 345.99
Batteries — Lead Acid | PLAB150AH | 150AH 12VDC Lead Acid Battery | 408.9
Batteries — Lead Acid | PLAB200AH | 200AH 12VDC Lead Acid Battery | 596.48
Batteries — Lead Acid | PLAB230AH | 230AH 12VDC Lead Acid Battery | 650.26
Batteries — Lead Acid | PLAB250AH | 250AH 12VDC Lead Acid Battery | 692.92
Batteries — AGM/VRLA | PLAB26AH-DC | 26AH 12VDC AGM VRLA Deep Cycle Lead Acid Battery | 90.66
Batteries — AGM/VRLA | PLAB33AH-DC | 33AH 12VDC Hybrid AGM VRLA Deep Cycle Lead Acid Battery | 119.21
Batteries — AGM/VRLA | PLAB40AH-DC | 40AH 12VDC Hybrid AGM VRLA Deep Cycle Lead Acid Battery | 133.43
Batteries — AGM/VRLA | PLAB55AH-DC | 55AH 12VDC Hybrid AGM VRLA Deep Cycle Lead Acid Battery | 199.1
Batteries — AGM/VRLA | PLAB75AH-DC | 75AH 12VDC Hybrid AGM VRLA Deep Cycle Lead Acid Battery | 236.25
Batteries — AGM/VRLA | PLAB85AH-DC | 85AH 12VDC Hybrid AGM VRLA Deep Cycle Lead Acid Battery | 262.59
Batteries — AGM/VRLA | PLAB100AH-DC | 100AH 12VDC Hybrid AGM VRLA Deep Cycle Lead Acid Battery | 293.39
Batteries — AGM/VRLA | PLAB120AH-DC | 120AH 12VDC Hybrid AGM VRLA Deep Cycle Lead Acid Battery | 364
Batteries — AGM/VRLA | PLAB150AH-DC | 150AH 12VDC AGM VRLA Deep Cycle Lead Acid Battery | 449.07
Batteries — AGM/VRLA | PLAB200AH-DC | 200AH 12VDC AGM VRLA Deep Cycle Lead Acid Battery | 687.21
Batteries — Other | P-CR123A | 3V Lithium Battery (CR123A) | 7.56
Batteries — Other | NC-SOL0370 | Solo 365 Battery | 297
Batteries — Other | NC-SOL0370-4PACK | Solo 365 Battery — 4 Pack | 1148
Battery Boxes / PSU | PFS200-BBS-MW | Battery Box for FlameStop Addressable Panels — Milk White | 146.02
Battery Boxes / PSU | PFS200-BBS | Battery Box for FlameStop Addressable Panels — Grey | 146.02
Battery Boxes / PSU | PFS100CAB-MWLRG | Battery Box for FlameStop Conventional Large Panels | 146.02
Battery Boxes / PSU | PS407-M2D | 24VDC Stand-Alone 2.5A PSU in Metal Cabinet (2x12ah batteries) | 675
Battery Boxes / PSU | PS408 | 24VDC Stand-Alone 10A PSU in Kit Form — AS7240.4 Approved | 865
Battery Boxes / PSU | PS408-M3D | 24VDC Stand-Alone 10A PSU in Metal Cabinet (2x45ah batteries) | 1055
Battery Boxes / PSU | PS406-M3D | 24VDC Stand-Alone 5.25A PSU in Metal Cabinet (2x26ah batteries) | 875
Speaker Grills | PWSP-GRILL | White Grill for 100mm Speaker | 3.5 | NOT approved AS ISO 7240.24 — requires project engineer approval
Speaker Grills | PWSP-GRILL200 | White Grill for 200mm Speaker | 5.15 | NOT approved AS ISO 7240.24 — requires project engineer approval
Speaker Grills | PWSP-100PLAIN | 5 Watt 100V 100mm Twin Cone Speaker | 25.52 | NOT approved AS ISO 7240.24 — requires project engineer approval
Speaker Grills | PHS140 | Hole Saw 140mm + Arbor | 77.5
VADs — Ceiling Mount | PVAD-R-CM | Ceiling Mount VAD — Red Body, Red Flash | 90.14
VADs — Ceiling Mount | PVAD-W-CM | Ceiling Mount VAD — White Body, Red Flash | 90.14
VADs — Ceiling Mount | PVAD-W-CM-WF | Ceiling Mount VAD — White Body, White Flash | 90.14
VADs — Ceiling Mount | PVAD-W-CMDB | Ceiling Mount VAD Deep Base — White Body, Red Flash | 90.14
VADs — Ceiling Mount | PVAD-R-CMDB | Ceiling Mount VAD Deep Base — Red Body, Red Flash | 89.86
VADs — Ceiling Mount | PVAD-W-CMDB-WF | Ceiling Mount VAD Deep Base — White Body, White Flash | 90.14
VADs — Wall Mount | PVAD-R-WM | Wall Mount VAD — Red Lens | 86.67
VADs — Wall Mount | PVAD-W-WM | Wall Mount VAD — White Body, Red Flash | 86.67
VADs — Wall Mount | PVAD-R-WMDB | Wall Mount VAD Deep Base — Red Body, Red Flash | 92.45
VADs — Wall Mount | PVAD-R-WMBASE | Red Wall Mount VAD Base Only | 175
VADs — Accessories | PXCRDEEP | Optional Red Deep Base for Conduit Entry | 10.98
VADs — Accessories | PXCWHDEEP | Optional White Deep Base for Conduit Entry | 9.24
VADs — Addressable | P-576.080.006 | P80AVB MX Addressable Sounder/VAD Base | 243.58
WIP Phones | PFS100CAB-R-WIP | WIP Phone Box — Red | 106.7
WIP Phones | PFS100CAB-MW-WIP | WIP Phone Box — Milk White | 106.7
WIP Phones | PQE90-WIP | WIP Phone to Suit QE90 EWIS | 71.81
WIP Phones | P-FP0938 | Vigilant WIP Phone (RED) FP0938 | 94.08
WIP Phones | P-EA0412 | WIP Phone Surface Mounting Enclosure EA0412 | 275
WIP Phones | PWIP-SPK | External Speaker ONLY for Redback Brand WIP Phone | 25.18
WIP Phones | WIP-ANGLE | WIP Lift Handset to Call Sign | 16.95
WIP Phones | WIP-V | WIP Lift Handset to Call Sign — Vinyl | 4.5
WIP Phones | PDUAL-S | Dual Strobes for EWIS System | 91.7
WIP Phones | PCABWL | IP66 UV ABS Cabinet with Stainless Steel Latches | 138
Indoor MCPs | PX-MCP-RED | Red Indoor MCP | 42.18
Indoor MCPs | PX-MCP-WHITE | White Indoor MCP | 42.18
Indoor MCPs | PX-MCP-GREEN | Green Indoor MCP | 50.38
Indoor MCPs | PX-MCP-YELLOW | Yellow Indoor MCP | 50.38
Indoor MCPs | PX-MCP-FLAP | MCP Flap | 10.4
Indoor MCPs | PX-MCP-KEY | MCP Key | 10.82
Indoor MCPs | PX-MCP-ELEMENT | Resettable Plastic Infill Element for MCP | 9.5
Indoor MCPs | P-MCP-RT | KAC Brand Red Conventional MCP | 55.35
Indoor MCPs | P-KAC-KEY | Pack of 10 Spare MCP Keys | 26.66
Indoor MCPs | P-MCP-RTFLAP | Protective Plastic Flap Cover for KAC MCP — Curved Front | 14.16
Indoor MCPs | P-KAC-ELEMENT | Resettable Plastic Infill Element for KAC MCP | 8.97
Indoor MCPs | P-SU0624 | MCP RED No Back Box Normally Open Simplex Glass SU0624 | 58.11
Indoor MCPs | P-SU0631 | New MCP KAC RED Manual Call Point SU0631 | POA | POA
Indoor MCPs | P-SU0632 | New MCP KAC RED Manual Call Point Back Box Only SU0632 | 12.72
Indoor MCPs | PMCP-GREEN-DPDT | Green DP/DT Resettable Manual Call Point | 75
Indoor MCPs | PXDC-GREEN-DPTP | Green Double Pole Manual Call Point — Resettable | 85
Indoor MCPs | P-SU0614 | MCP Emergency Door Release Double Pole White | 125
Indoor MCPs | P-FP1114 | MCP Emergency Door Release Double Pole Yellow FP1114 | 85
Indoor MCPs | PSIGN-MCP | Sign for MCP — After Activation Call 000 | 7.02
Indoor MCPs | P-515.001.033 | Weather Stopper Break Seal Kit RED 515.001.033 | 71.51
Indoor MCPs | P-515.001.035 | Weather Stopper II Surface Mount STI3150 515.001.035 | 294
Indoor MCPs | P-515.001.032 | Weather Stopper c/w Sounder 515.001.032 | 346.73
Indoor MCPs | P-SU0622 | IP67 Weatherproof Gasket for SUo612 SU0622 | 17.36
Indoor MCPs | P-FP0331 | MCP NZ Red Wormald 1841 Clean Contact Surface Mount FP0331 | 79.15
Indoor MCPs | P-514.001.109 | CP220 CALLPOINT I.S 514.001.109 | 463.06

## Ampac
AMPAC Pty Ltd — Trade Price List (AUD excl. GST) ¦ Effective 12 May 2025 ¦ ABN: 81 634 063 200 ¦ www.ampac.net
Contact: David Lehn (NSW State Manager) — (02) 8866 6211 ¦ 0417 986 847 ¦ dlehn@ampac.net ¦ Bradley Marshall (Technical Support) — (02) 8866 6215 ¦ 0406 384 319 ¦ Unit B28, 32 Egerton St, Silverwater NSW 2128
Category | Item No. | Description | Trade Price (AUD) | Notes
Conv. FIP — ZoneSense | 2250-4200 | ZoneSense 4 Zone (DH4) BX1 ABS Cabinet | 672
Conv. FIP — ZoneSense | 2250-4250 | ZoneSense 4 Zone (DH4) BX10 Metal Cabinet | 669
Conv. FIP — ZoneSense Plus | 2550-1100 | ZoneSense PLUS 4 Zone ABS Inc Batteries | 873
Conv. FIP — ZoneSense Plus | 2550-1200 | ZoneSense PLUS 8 Zone ABS Inc Batteries | 1014
Conv. FIP — ZoneSense Plus | 2550-2100 | ZoneSense PLUS 4 Zone ABS with Window Inc Batteries | 960
Conv. FIP — ZoneSense Plus | 2550-2200 | ZoneSense PLUS 8 Zone ABS with Window Inc Batteries | 1129
Conv. FIP — Agent Release | 2553-0410-0100 | ZoneSense PLUS 4 Zone SP1X Agent Release Inc Batteries | 2001
Conv. FIP — Agent Release | 2553-0810-0100 | ZoneSense PLUS 8 Zone SP1X Agent Release Inc Batteries (2x7AH) | 2078
AA FIP — LoopSense | 8251-0110 | LoopSense 1 Loop 3A SP1X Apollo AS7240 | 2472
AA FIP — LoopSense | 8251-0210 | LoopSense 2 Loop 3A SP1X Apollo AS7240 | 2865
AA FIP — LoopSense | 8251-0110-1100 | LoopSense 1 Loop 3A SP1X OWS25 Apollo AS7240 | 3256
AA FIP — LoopSense | 8251-0210-1100 | LoopSense 2 Loop 3A SP1X OWS25 Apollo AS7240 | 3658
AA FIP — LoopSense | 8251-0110-1200 | LoopSense 1 Loop 3A SP1X OWS50 Apollo AS7240 | 3722
AA FIP — LoopSense | 8210-0001 | 2nd Loop Activation Key LoopSense | 416
AA FIP — LoopSense Agent | 8251-0110-0100 | LoopSense 1 Loop 3A SP1X Agent Apollo AS7240 | 3113
AA FIP — FireFinder Plus | 8651-0110 | FireFinder+ 1 Loop 5A SP1X | 2894
AA FIP — FireFinder Plus | 8651-0110-0100 | FireFinder+ 1 Loop 5A Agent SP1 | 3632
AA FIP — FireFinder Plus | 8651-0110-1100 | FireFinder+ 1 Loop 5A OWS25 SP1X | 3798
AA FIP — FireFinder Plus | 8651-0110-1200 | FireFinder+ 1 Loop OWS50 5A SP1 | 4325
AA FIP — FireFinder Plus | 8651-0113 | FireFinder+ 1 Loop 5A SP8X | 5114
AA FIP — FireFinder Plus | 8651-0113-0100 | FireFinder+ 1 Loop Agent 5A SP8 | 5852
AA FIP — FireFinder Plus | 8651-0113-1200 | FireFinder+ 1 Loop OWS50 5A SP8 | 6315
AA FIP — FireFinder Plus | 8651-0117 | FireFinder+ 1 Loop 14A 10U | POA | Contact CSO
AA FIP — FireFinder Plus | 8651-0118 | FireFinder+ 1 Loop 22A 16U | POA | Contact CSO
AA FIP — FireFinder Plus | 8651-0119 | FireFinder+ 1 Loop 22A 29U | POA | Contact CSO
AA FIP — FireFinder Plus Conv | 8653-0810 | FireFinder+ 8 Zone 5A SP1X | 2495
AA FIP — FireFinder Plus Conv | 8653-0810-1100 | FireFinder+ 8 Zone OWS25 5A SP1 | 3352
AA FIP — FireFinder Plus Conv | 8653-0810-1200 | FireFinder+ 8 Zone OWS50 5A SP1 | 3826
AA FIP — FireFinder Plus Conv | 8653-0813 | FireFinder+ 8 Zone 5A SP8X | 3148
AA FIP — FireFinder Plus Conv | 8653-0813-1200 | FireFinder+ 8 Zone OWS50 5A SP8 | 4535
Panel Add-Ons | 4350-0004 | AS7240 Smart Terminal BX1 | POA
Panel Add-Ons | 4350-0005 | AS7240 Smart Terminal BX1 with PSU | POA
Panel Add-Ons | 4350-0006 | AS7240 Smart Terminal Slimline | POA
Panel Add-Ons | 4210-0046 | Wall/Ceiling Mount Surround | POA
Battery Cabinets | 4210-0040 | Battery Cab for SP1X/SP1M (Surfmist) | 267
Battery Cabinets | 4210-0041 | Battery Cab for FFP/LoopSense SP8X (Surfmist) | 341
Battery Cabinets | 4210-0042 | SP1X/M Cabinet Surround Surfmist | 273
Battery Cabinets | 4210-0044 | SP8X Cabinet Surround Surfmist | 341
Battery Cabinets | 4210-0045 | SP8X and Battery Cabinet Surround Surfmist | 416
EWIS — EvacU Elite | 6350-PNL13U | Base Panel 13U EvacU Elite | POA | Contact CSO
EWIS — EvacU Elite | 6350-PNL24U | Base Panel 24U EvacU Elite | POA | Contact CSO
EWIS — EvacU Elite | 6350-PNL24UCOMBO | Base Panel 24U Combo EvacU Elite | POA | Contact CSO
EWIS — EvacU Elite Amps | 6350-HPA150W-CSO | EvacU Elite 150W HPA Card | 1739
EWIS — EvacU Elite Amps | 6350-LPA25W-DUAL-CSO | EvacU Elite Dual 25W Amplifier LPA Card | 667
EWIS — EvacU Elite Amps | 6350-LPA50W-CSO | EvacU Elite 50W LPA Card | 637
EWIS — EvacU Elite Amps | ASS63LWIPS | EvacU Elite Loop WIP | 431
EWIS — EvacU Elite Amps | ASS63WIPS | EvacU Elite Radial WIP | 210
OWS — EvacU OWS | 6010-0001 | OWS 50W Amplifier | 959
OWS — EvacU OWS | 6010-0002 | OWS 25W Amplifier | 489
OWS — EvacU OWS | 6010-0018 | OWS Indicator & Controls | 449
OWS — EvacU OWS | 6050-0010-0800 | EvacU EWCIE 4x50W (200W) 10A | 4010
OWS — EvacU OWS | 6050-0010-1100 | EvacU EWCIE 25W 3A | 1593
OWS — EvacU OWS | 6050-0010-1200 | EvacU EWCIE 50W 3A | 1904
OWS — EvacU OWS | 6050-0010-1400 | EvacU EWCIE 2x50W (100W) 5A | 2628
OWS — EvacU OWS | 6050-0010-1500 | EvacU EWCIE 3x50W (150W) 10A | 3318
Conv. Detectors — S65 | 4106-1001 | Series 65 Optical Smoke Detector | 104
Conv. Detectors — S65 | 4106-1004 | Series 65 A1R Heat Detector | 48
Conv. Detectors — S65 | 4106-1005 | Series 65 BR Heat Detector | 48
Conv. Detectors — S65 | 4106-1006 | Series 65 CR Heat Detector | 48
Conv. Detectors — S65 | 4106-1007 | Series 65 CS Heat Detector | 48
Conv. Detectors — S65 | 4106-1008 | Standard Base Series 65 | 18
Conv. Detectors — Special | 202-0023 | Thermal Type B Sealed Cool Rm Detector (Hoc) | 207
Conv. Detectors — Special | 223-0002 | Type E Heat Detector (Dual Thread) | 400
Conv. MCPs — ACP-06 Indoor | 4105-1011 | ACP-06 Red Surface Mount (Fire Symbol) Conv MCP | 44
Conv. MCPs — ACP-06 Indoor | 4105-1012 | ACP-06 Yellow Surface Mount Agent Release Conv MCP | 56
Conv. MCPs — ACP-06 Indoor | 4105-1013 | ACP-06 White Surface Mount Emergency Alarm Conv MCP | 56
Conv. MCPs — ACP-06 Indoor | 4105-1014 | ACP-06 Green Surface Mount Door Release Conv MCP | 56
Conv. MCPs — ACP-06 Indoor | 4105-1015 | ACP-06 Blue Surface Mount Conv MCP | 56
Conv. MCPs — ACP-06 Indoor | 4105-1017 | ACP-06 Dual Pole Green MCP Flush/Surface Indoor | 64
Conv. MCPs — ACP-06 Indoor | 4105-1018 | ACP-06 White Surface Mount Evacuate Conv MCP | 56
Conv. MCPs — ACP-06 Indoor | 4105-1021 | ACP-06 Red Flush Mount (Fire Symbol) Conv MCP | 44
Conv. MCPs — ACP-06 Indoor | 4105-1004 | ACP-06 Safety Cover with text Lift to Operate | 22
Conv. MCPs — ACP-06 Indoor | 4105-1005 | ACP-06 Safety Cover No Text | 22
Conv. MCPs — ACP-06 Indoor | 4105-1006 | ACP-06 Test Keys (pack of 10) | 44
Conv. MCPs — ACP-07 WP | 4105-1031 | ACP-07 Waterproof Red (Fire Symbol) Conv MCP | 194
Conv. MCPs — ACP-07 WP | 4105-1032 | ACP-07 Waterproof Yellow Conv MCP | 235
Conv. MCPs — ACP-07 WP | 4105-1033 | ACP-07 Waterproof White Emergency Alarm Conv MCP | 235
Conv. MCPs — ACP-07 WP | 4105-1034 | ACP-07 Waterproof Green Conv MCP | 235
Conv. MCPs — ACP-07 WP | 4105-1038 | ACP-07 Waterproof White Evacuate Conv MCP | 235
Duct Sampling | 214-0052 | Orbis Duct Sampling Unit inc Detector Base (Conv) | 267
Duct Sampling | 214-0060 | Duct Probe 300–750mm Sampling Pipe | 46
Duct Sampling | 214-0061 | Duct Probe 750–1500mm Sampling Pipe | 68
Duct Sampling | 214-0062 | Duct Probe 1500–3000mm Sampling Pipe | 107
Duct Sampling | 214-0051 | Duct Sampling Unit inc XP95 Detector Base (AA) | 267
Beam Detection | 4109-1003 | Conventional Beam System (Supports 2 Heads) | 1913
Beam Detection | 4109-1004 | Addressable Beam System | 2389
Beam Detection | 4109-1005 | Fireray One (EN) | 1964
Beam Detection | 220-0007 | Reflective Prism | 133
Beam Detection | 220-0009 | Detector & Reflective Prism | 1399
Beam Detection | 220-0010 | Long Range Reflective Prism Kit (100m) | 373
Beam Detection | 220-0011 | Universal Bracket for Detector | 408
Beam Detection | 220-0015 | Detector Protective Cage | 237
AA Detectors — XP95 | 4106-2001 | XP95 Optical Smoke Detector | 121
AA Detectors — XP95 | 4106-2010 | XP95 Optical (Black) Smoke Detector | 194
AA Detectors — XP95 | 4106-2003 | XP95 Heat Detector A2S | 121
AA Detectors — XP95 | 4106-2015 | XP95 Heat A2S (Black) Detector | 265
AA Detectors — Discovery | 4106-2005 | Discovery Optical Smoke Detector | 138
AA Detectors — Discovery | 4106-2007 | Discovery Heat Detector | 121
AA Detectors — Discovery | 4106-2008 | Discovery Multisensor Detector | 195
AA Detectors — Discovery | 4106-2014 | Discovery Multisensor (Black) Detector | 316
AA Detectors — Discovery | 4106-2009 | Discovery CO/Heat Multisensor Detector | 245
AA Detectors — Discovery | 201-0102 | Discovery Carbon Monoxide Detector | 320
AA Detectors — Discovery | 201-0004 | XP95/Discovery Detector Base with Xpert Card | 21
AA Detectors — Discovery | 201-0125 | XP95/Discovery Isolating Base with Xpert Card | 110
AA Detectors — Discovery | 201-0093 | XP95 Detector Base (Black) with Xpert Card | 29
AA MCPs — XP95 | 4105-2005 | Intelligent MCP Red Indoor | 184
AA MCPs — XP95 | 4105-2006 | XP95 Orange MCP Indoor | 240
AA MCPs — XP95 | 4105-2007 | XP95 White MCP Indoor | 240
AA MCPs — XP95 | 4105-2008 | XP95 Yellow MCP Indoor | 240
AA MCPs — XP95 | 4105-2010 | XP95 Green MCP Indoor | 260
AA MCPs — XP95 | 4105-2002 | Waterproof MCP with Isolator (Red) | 502
AA MCPs — XP95 | 4105-2003 | Transparent Covers for MCPs (4105-2001/2002/2005) | 22
AA MCPs — XP95 | 4105-2004 | Pack of 10 Reset Keys | 21
AA MCPs — XP95 | 213-0051 | XP95 KAC MCP c/w Isolator Red Surface | 184
AA MCPs — XP95 | 213-0066 | Discovery Waterproof MCP Red (KAC) | 502
AA MCPs — XP95 | 213-0064 | Transparent Hinged Cover for KAC MCP | 22
I/O Modules | 4210-0151 | Single Input/Output Module | 161
I/O Modules | 4210-0152 | Dual Input/Output Module | 229
I/O Modules | 4210-0153 | Triple Input/Output Module | 298
I/O Modules | 4210-0050 | Single I/O Device DIN Mount | 161
I/O Modules | 4210-0051 | Single I/O Device Enclosed | 170
I/O Modules | 4210-0052 | Single Input Device DIN Mount | 122
I/O Modules | 4210-0053 | Single Input Device Enclosed | 143
I/O Modules | 4210-0054 | Three I/O Device DIN Mount | 381
I/O Modules | 4210-0055 | Three I/O Device Enclosed | 399
I/O Modules | 4210-0058 | Zone Interface Device DIN Mount | 171
I/O Modules | 4210-0059 | Zone Interface Device Enclosed | 190
Interface Enclosures | 4210-0034 | ABS Ancillary Interface Enclosure | 36
Interface Enclosures | 4210-0035 | Ancillary Interface Enclosure Surf Mist Mild Steel | 79
Interface Enclosures | 4210-0036 | Fire Alarm Interface Box IF2 | 205
Interface Enclosures | 4210-0037 | Fire Alarm Interface Box IF4 | 524
Interface Enclosures | 4210-0038 | Fire Alarm Interface Box IF9 | 758
Interface Enclosures | 4210-0039 | Fire Alarm Interface Box IF20 | 1094
Alarm Acknowledgement | 226-0002 | Alarm Acknowledgement Facility AS7240 | 190
Alarm Acknowledgement | 226-0003 | Apartment Module | 158
Alarm Acknowledgement | 226-0004 | Alarm Acknowledgement Facility Horizontal AS7240 | 195
Air Sampling — Wagner ProSens | 7010-1000 | Wagner ProSens APID | 744
Air Sampling — Wagner ProSens | 7010-1010 | Wagner ProSens CLI | 2873
Air Sampling — Wagner ProSens | 7010-1020 | Wagner ProSens OEM | 2873
Air Sampling — Wagner ProSens | 7010-1100 | Wagner ProSens DeepFreeze APID | 2840
Air Sampling — Wagner ProSens | 7010-1110 | Wagner ProSens DeepFreeze CLI | 3363
Air Sampling — Wagner ProSens | 7010-1120 | Wagner ProSens DeepFreeze OEM | 3363
Air Sampling — Wagner Heads | AD-10-5130 | ProSens Head 0.50% Rated -20 to 60°C | 986
Air Sampling — Wagner Heads | AD-10-5100 | ProSens Head 0.10% Rated -20 to 60°C | 1361
Air Sampling — Wagner Heads | AD-10-5115 | ProSens Head 0.01% Rated -20 to 60°C | 4532
Air Sampling — Wagner Heads | AD-10-5200 | ProSens Head 0.50% DeepFreeze -40 to 60°C | 1287
Air Sampling — Wagner Heads | AD-10-5190 | ProSens Head 0.10% DeepFreeze -40 to 60°C | 1740
Air Sampling — Wagner Heads | AD-10-5195 | ProSens Head 0.01% DeepFreeze -40 to 60°C | 5286
Air Sampling — Wagner Filters | AD-10-1960 | Wagner Filter Box LF-AD 15 Micron (-40 to 60°C) | 455 | Filter box — complete unit
Air Sampling — Wagner Filters | AD-10-1963 | Wagner Filter Box LF-AD-1 10 Micron (-40 to 60°C) | 531 | Filter box — complete unit
Air Sampling — Wagner Filters | AD-10-1966 | Wagner Filter Box LF-AD-2 5 Micron (-40 to 60°C) | 561 | Filter box — complete unit
Air Sampling — Wagner Filters | AD-10-0330 | Wagner Filter Element LF-AD-E 15 Micron (replacement) | 102 | Replacement element for LF-AD filter box
Air Sampling — Wagner Filters | AD-10-0335 | Wagner Filter Element LF-AD-ES 10 Micron (replacement) | 168 | Replacement element for LF-AD-1 filter box
Air Sampling — Wagner Filters | AD-10-0332 | Wagner Filter Element LF-AD-E2 5 Micron (replacement) | 161 | Replacement element for LF-AD-2 filter box
Air Sampling — Wagner Filters | 7010-0134 | 30 Micron Filter Box | 252
Air Sampling — Wagner Misc | AD-10-0005 | ASD Sound Absorber | 383
Air Sampling — Wagner Misc | AD-05-0563 | Wagner Diagnostic Tool — Laptop USB to Wagner | 1590
Air Sampling — MicroSens | AD-05-4531 | MicroSens 0.5% Std PreAlarm | 2386
Air Sampling — MicroSens | AD-05-4539 | MicroSens 0.5% DeepFreeze PreAlarm -40°C | 2862
Air Sampling — MicroSens | 7010-6700 | MicroSens Backbox with I/O Device | 449
Air Sampling — MicroSens | 7010-6701 | MicroSens Backbox (AD-05-3500) | 207
Air Sampling — Fittings | 230-0061 | Pipe (4m Length) | 15 | 25mm ASD pipe
Air Sampling — Fittings | 230-0062 | Pipe Coupling STD DX40025 | 3
Air Sampling — Fittings | 230-0063 | Pipe Coupling IP65 DX43025 | 5
Air Sampling — Fittings | 230-0067 | Large 90° Bend Standard | 15
Air Sampling — Fittings | 230-0068 | End Cap 25mm DX52125 | 1
Air Sampling — Fittings | 230-0072 | Pipe Clip Saddle GW50603 | 4
Air Sampling — Fittings | 230-0121 | Label Sampling Pipe Roll 200 | 58
Air Sampling — Fittings | 230-0081 | Sampling Point Kit 10mm Friction Fit | 41
Air Sampling — Fittings | 230-0082 | Sampling Point Kit 10mm Locking | 45
Air Sampling — Fittings | 01-10-9040 | T Pipe Connector 25mm PVC | 9
Conv. Sounders — VTG/VSO | 4107-3001 | VTG Sounder Red Shallow Base (AS7240-3) | 107
Conv. Sounders — VTG/VSO | 4107-3002 | VTG Sounder Red Deep Body (AS7240-3) | 119
Conv. Sounders — VTG/VSO | 4107-3003 | VTG Sounder White Shallow Body (AS7240-3) | 107
Conv. Sounders — VTG/VSO | 4107-3004 | VTG Sounder White Deep Base (AS7240-3) | 119
Conv. Sounders — VTG/VSO | 4107-3005 | VSO Sounder White Body (AS7240-3) | 108
Conv. Sounders — VTG/VSO | 4107-3008 | VSO White Sounder Cover Plate | 12
Conv. Sounders — VTB-I | 4107-5101 | VTB-I Red Lens Shallow Red Body (AS7240-3) | 158
Conv. Sounders — VTB-I | 4107-5103 | VTB-I Red Lens Deep Red Body (AS7240-3) | 169
Conv. VADs — VXB-VC | 4107-1101 | VXB-VC White Flash Shallow White Body (AS7240-23) | 184
Conv. VADs — VXB-VC | 4107-1102 | VXB-VC White Flash Deep White Body (AS7240-23) | 194
Conv. VADs — VXB-VC | 4107-1103 | VXB-VC Red Flash Shallow White Body (AS7240-23) | 184
Conv. VADs — VXB-VC | 4107-1104 | VXB-VC Red Flash Deep White Body (AS7240-23) | 194
Conv. VADs — VXB-VC | 4107-1105 | VXB-VC Red Flash Shallow Red Body (AS7240-23) | 184
Conv. VADs — VXB-VC | 4107-1106 | VXB-VC Red Flash Deep Red Body (AS7240-23) | 194
Conv. VADs — VXB-VW | 4107-1151 | VXB-VW White Flash Shallow White Body (AS7240-23) | 188
Conv. VADs — VXB-VW | 4107-1153 | VXB-VW Red Flash Shallow White Body (AS7240-23) | 184
Conv. VADs — VXB-VW | 4107-1155 | VXB-VW Red Flash Shallow Red Body (AS7240-23) | 200
Conv. VADs — VXB-VW | 4107-1131 | Dual VXB Shallow Red & White Flash White Body | 351
Conv. VADs — VXB-VW | 4107-1132 | Dual VXB Deep Red & White Flash White Body | 363
Conv. Sounder+Beacon | 4107-5203 | VTB-VC Red Flash Shallow White Body (AS7240-3 & 23) | 245
Conv. Sounder+Beacon | 4107-5204 | VTB-VC Red Flash Deep White Body (AS7240-3 & 23) | 257
Conv. Sounder+Beacon | 4107-5205 | VTB-VC Red Flash Shallow Red Body (AS7240-3 & 23) | 245
Conv. Sounder+Beacon | 4107-5206 | VTB-VC Red Flash Deep Red Body (AS7240-3 & 23) | 257
LED Beacons | 4107-1001 | Red LED Beacon White Shallow Body | 87
LED Beacons | 4107-1002 | Amber LED Beacon White Shallow Body | 89
LED Beacons | 4107-1003 | Red LED Beacon White Deep Body | 72
LED Beacons | 4107-1009 | Red LED Beacon Red Deep Body | 77
LED Beacons | 4107-1005 | Dual LED Beacon Shallow Base | 217
LED Beacons | 4107-1006 | Dual LED Beacon Deep Base | 238
Remote Indicators | 209-0004 | Remote Indicator — Fire Alarm in Concealed Space | 15
Remote Indicators | 209-0005 | Remote Indicator — Fire Alarm in Roof Space | 15
Remote Indicators | 209-0006 | Remote Indicator — Fire Alarm in Room | 15
Remote Indicators | 209-0007 | Remote Indicator — Fire Alarm in Duct | 15
Remote Indicators | 209-0008 | Remote Indicator — Fire Alarm in Cupboard | 15
Remote Indicators | 209-0009 | Remote Indicator — Fire Alarm Under Floor | 15
Remote Indicators | 209-0010 | Remote Indicator — Fire Alarm in Return Air | 15
Remote Indicators | 209-0014 | Remote Indicator — Fire Alarm Above | 15
Remote Indicators | 209-0017 | Remote LED + Buzzer on Clipsal White S/Gang Plate | 148
Alarm Bells | 206-0012 | AFB-63 Bell 150mm Red 24VDC | 53
Alarm Bells | 206-0011 | AFB-63 Bell 150mm Red 12VDC | 60
Alarm Bells | 206-0001 | Bell 200mm 24VDC Red | 80
Alarm Bells | 206-0006 | Bell Back Box | 29
Warning Signs — ARC | 4210-0110 | Warning Sign (No Fascia Plate) | 354
Warning Signs — ARC | 4210-0120 | Warning Sign IP65 (No Fascia Plate) | 714
Warning Signs — ARC | 4210-0131 | Fire Alarm Do Not Enter Fascia Plate | 60
Warning Signs — ARC | 4210-0132 | Fire Alarm Evacuate Area Fascia Plate | 60
Warning Signs — ARC | 4210-0133 | Do Not Enter Gas Discharged Fascia Plate | 60
Warning Signs — ARC | 4210-0134 | Fire Door Closing Fascia Plate | 60
Warning Signs — ARC | 4210-0135 | Extinguishing System Inoperative Fascia Plate | 60
Warning Signs — ARC | 4210-0136 | Custom Legend Fascia Plate (specify text on order) | 380
Speakers — Ampac | 4113-6001 | SPK6 White Ceiling Speaker 6W Red PET Rear Cover | 40
Speakers — Ampac | 4113-6002 | SPK6 White Ceiling Speaker 6W Red ABS Rear Cover | 42
Speakers — Ampac | 4113-6003 | SPK6 White Ceiling Speaker 6W Red Metal Rear Cover | 70
Speakers — Ampac | 4113-6201 | SPK7 Grey Horn Speaker Ceramic Term & Fuse | 110
Speakers — Ampac | 4113-6401 | SPK8 White Sound Projector Ceramic Term & Fuse | 100
Speakers — AS7240-24 | 4113-1054 | Ceiling Speaker White ABS Grille (Grommets) AS7240-24 | 65
Speakers — AS7240-24 | 4113-1056 | Ceiling Speaker White Alumin Grille (Grommets) AS7240-24 | 100
Speakers — AS7240-24 | 4113-1058 | Ceiling Speaker White Metal Grille AS7240-24 | 70
Speakers — AS7240-24 | 4113-1064 | Ceiling Speaker 5W 8" White ABS Plastic AS7240-24 | 140
Speakers — AS7240-24 | 4113-1074 | Ceiling Speaker 15W 8" White Plastic High Power AS7240-24 | 185
Speakers — AS7240-24 | 4113-1025 | Horn Speaker 10W Grey EQ AS7240-24 | 185
Speakers — AS7240-24 | 4113-1027 | Horn Speaker 10W White EQ AS7240-24 | 198
Speakers — AS7240-24 | 4113-1034 | Surface Mount Speaker 15W 8" White AS7240-24 | 180
Speakers — AS7240-24 | 4113-1036 | Surface Mount 4" Speaker White One-Shot EQ AS7240-24 | 91
AA Sounders — XP95 | 4107-4001 | XP95 Integrated Base Sounder (AS7240-3) | 121
AA Sounders — XP95 | 4107-4002 | XP95 Open Area Sounder Red Body (AS7240-3) | 226
AA Sounders — XP95 | 4107-4003 | XP95 Open Area Sounder White Body (AS7240-3) | 226
AA VADs — XP95 | 4107-2001 | XP95 VAD White Flash C-3-8 White Body (AS7240-23) | 221
AA VADs — XP95 | 4107-2002 | XP95 VAD White Flash C-3-8 Red Body (AS7240-23) | 221
AA VADs — XP95 | 4107-2005 | XP95 VAD Cat W Red Body (AS7240-23) | 248
AA VADs — XP95 | 4107-2006 | XP95 VAD Cat W White Body (AS7240-23) | 248
AA VADs — XP95 | 4107-2007 | XP95 Base VAD Cat O (AS7240-23) | 248
AA Sounder+VAD — XP95 | 4107-6001 | XP95 Base Sounder VID Beacon (AS7240-3) | 280
AA Sounder+VAD — XP95 | 4107-6002 | XP95 Base Sounder VAD Cat O (AS7240-3 & 23) | 291
Door Holders | 212-0012 | Ampac Door Holder 24VDC 50KG | 143
Door Holders | 4101-1001 | Surface Mount 200N 24V ABS Case Door Holder | 146
Door Holders | 4101-1002 | Surface Mount 200N 230V ABS Case Door Holder | 154
Door Holders | 4101-1003 | Surface Mount 500N 24V ABS Case Door Holder | 148
Door Holders | 4101-1004 | Surface Mount 200N 24V Steel Case Door Holder | 162
Door Holders | 4101-3001 | Flush Mount 24V Door Holder | 152
Door Holders | 4101-2001 | Floor Mount 200N 24V Cast Aluminium Door Holder | 218
Door Holders | 4101-2002 | Floor Mount 500N 24V Cast Aluminium Door Holder | 247
Door Holders | 4101-4001 | Universal Mount 500N Short Stand 24V Door Holder | 212
Door Holders | 4101-4002 | Universal Mount 500N Long Stand 24V Door Holder | 245
Door Holders | 4101-4003 | Universal Mount 1000N Short Stand 24V Door Holder | 263
Door Holders | 4101-4004 | Universal Mount 1000N Long Stand 24V Door Holder | 303
Door Holders | 4101-5001 | IP65 Protected 1200N 24V Door Holder | 491
Door Holders | 4101-6001 | Floor Mounting Bracket | 33
Door Holders | 268-0003 | Remote Door Release Plate Vertical Screen | 67
Door Holders | 268-0010 | Remote Door Release Plate Horizontal Screen | 67
Batteries | 210-0008 | 12V 1.3AH SLA Battery | 28
Batteries | 210-0006 | 12V 3.2AH SLA Battery | 39
Batteries | 210-0016 | 12V 7AH SLA Battery | 33
Batteries | 210-0010 | 12V 12AH SLA Battery | 93
Batteries | 210-0003 | 12V 18AH SLA Battery | 107
Batteries | 210-0012 | 12V 26AH SLA Battery | 158
Batteries | 210-0021 | 12V 33AH SLA Battery | 206
Batteries | 210-0013 | 12V 40AH SLA Battery | 290
Batteries | 210-0023 | 12V 55AH SLA Battery | 422
Batteries | 210-0015 | 12V 65AH SLA Battery | 375
Batteries | 210-0004 | 12V 75AH SLA Battery | 400
Batteries | 210-0002 | 12V 100AH SLA Battery | 576
Batteries | 210-0022 | 12V 120AH SLA Battery | 670
Batteries | 210-0017 | 12V 150AH SLA Battery | 788
Batteries | 210-0038 | 12V 190AH SLA Battery | 1284
Batteries | 210-0011 | 12V 200AH SLA Battery | 1308
Batteries | 210-0024 | 12V 250AH SLA Battery | 1357
Power Supplies | 4510-1100 | MultiAmp-DH 250MA Flush Mount | 320
Power Supplies | 4510-1101 | MultiAmp-DH 250MA Surface Mount | 320
Power Supplies | 4510-8102 | 2A PSU — Space for 2 x 12AH Batteries | 670
Power Supplies | 4510-8202 | 2A PSU — Space for 2 x 38AH Batteries | 760
Power Supplies | 4510-8205 | 5A PSU — Space for 2 x 38AH Batteries | 823
Power Supplies | 4510-8210 | 10A PSU — Space for 2 x 38AH Batteries | 1333
Power Supplies | 4510-8305 | 5A PSU — Space for 2 x 65AH Batteries | 1100
Power Supplies | 4510-8310 | 10A PSU — Space for 2 x 65AH Batteries | 1653
Power Supplies | 4510-9002 | 2A 27.6VDC PSU Module | 452
Power Supplies | 4510-9005 | 5A 27.6VDC PSU Module | 583
Power Supplies | 4510-9010 | 10A 27.6VDC PSU Module | 1003
Power Supplies | 159-0161 | 5A Door Holder PSU inc 5A Relay | 686
Ancillary Equipment | 215-0003 | Break Glass Key Holder D2 | 40
Ancillary Equipment | 268-0002 | Wall Box Metal 25mm Deep for MCPs | 14
Ancillary Equipment | 201-0101 | Mounting Block for S65/XP95 Base | 20
Ancillary Equipment | 4112-2004 | Smoke Detector Cage 75Dx175mm | 136
Ancillary Equipment | 4112-2005 | Smoke Detector Cage 95Dx175mm | 148
Ancillary Equipment | 4112-2018 | Rapid Bracket Main Assembly | 182
Ancillary Equipment | 4112-2019 | Rapid Bracket 1M Tube | 43
Ancillary Equipment | 4112-2020 | Rapid Bracket 3M Tube | 61
Test Equipment | 204-0014 | Smoke Detector Test Gas 250ml Aerosol | 125
Test Equipment | 204-0015 | Canned Smoke 150ml Handheld | 66
Test Equipment | 204-0020 | Carbon Monoxide Smoke Can Detector Tester (Test Pole) | 91
Test Equipment | 204-0030 | Smoke Stick Holder & 6 Refills (Ampac branded) | 91
Test Equipment | 204-0031 | Smoke Stick Refills Pack of 6 (Ampac branded) | 65
Test Equipment | 4112-2009 | Ampac Loop Tester | 2585